Avon Small Saints Pre-School’s

Fire Safety and Emergency Evacuation Policy

Policy statement

We ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer, or Fire Safety Consultant.

Procedures

- The basis of fire safety is risk assessment. These are carried out by a ‘competent person’.

- Settings will ensure that they have a copy of the fire safety risk assessment that applies to the building and that they contribute to regular reviews.

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BSEN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly at least once every six weeks.

- Records are kept of fire drills and the servicing of fire safety equipment.

Emergency evacuation procedure

- On the discovery of a fire the member of staff will raise the alarm by activating the nearest call point.

- The person in charge will select a member of staff to stand at a safe exit, the children will line up at that exit.

- All members of staff and children will evacuate the building quickly and calmly, leaving behind all personal belongings and assemble on the Main school playground or the grass field.

- The person in charge will be responsible for checking the building and selecting a member of staff to check the outside area once the fire door is closed, making sure they are clear also. The person in charge will collect emergency contacts and a mobile phone to take to the assembly point.

- Once assembled outside the building the register will be taken.  The fire service will be called using 999 if not already done.  If any person is missing this will be conveyed to the fire service under no circumstances will persons re-enter the building.

- There is fire fighting equipment available at the pre-school and these are only to be used under the discretion of the person in charge, the main effort is to evacuate all the children and staff safely and this should not delay the evacuation.

- During a practice drill, at the assembly point if the weather is acceptable it will be explained to the children what they have just done and the reasons why and on that occasion it was a practice drill.  If the weather is not acceptable, everyone will return to the Pre-school and it will be explained there.

- There should be a practice fire drill once every half term alternately on morning or afternoon sessions and on different days of the week, to include children who may miss the fire drill.  The Manager will maintain a record of these fire drills.

- In-case of a real fire, the person in charge will telephone the school to inform them of a potential danger. If safe to do so, the children will be taken to the Primary School hall where parents will be called.  If the fire spreads close to the school, we will follow their evacuation policies and procedures.

The fire drill record book contains:

- Date and time of the drill.

- How long it took.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Record Keeping

The Preschool will record staff training including its fire drills and the finding of its tests and checks.  The Preschool will keep the following records:

- Test of fire alarms, fire exists

- Annual inspection and tests of fire fighting equipment

- Periodic tests of emergency lighting

- Records of the inspection, risk assessment and maintenance of work place and electrical equipment, of storage of hazard substances and of any other hazards identified with fire safety

Lockdown procedures

In the event of an external threat to the preschool, where staff or children’s safety is compromised, the lockdown procedures will be followed. The person in charge will shout to alert staff that Lockdown Procedures are to be implemented. These will be:

- If safe to do so, children will be escorted to the school building, where their procedures will be followed.

- If not safe to leave the building, blinds will be drawn and all windows covered with paper.

- All children will be gathered together in the middle of the main room and tables used to provide cover if possible.

- Alternatively, if possible the office and cupboard will be used as they can be locked from the inside.

The school will be contacted at the first opportunity to inform them of the situation.